# GW Instek GSP-9300頻譜分析儀時域功率測量演示

這次的演示是GSP-9300 頻譜分析儀的時域功率測量功能。

這DEMO KIT是個ASK及FSK的信號產生器。此DEMO KIT有3種預設頻率，3種波特率及可設定輸出為連續或叢發模式。

架設方式：

- 連接DEMO KIT到GSP-9300前面板的USB接口

- 用SMA RF CABLE連接DEMO KIT輸出端到GSP-9300的輸入端。

儀器操作:

- 首先設定DEMO KIT的參數.

- 按Option Control鍵 > Demo Kit[F4]鍵>Demo Kit[F1]鍵*2次,啟動DEMO KIT.

- 按 Modulation [F2]鍵, 選擇FSK[F2]鍵

- 按Frequency[F3]鍵,選擇433MHz[F2]鍵

- 按Deviation[F4]鍵, 選擇頻率偏移量為50kHz[F2]鍵

- 按Baudrate[F5]鍵, 選擇波特率為9600[F2]鍵

- 按Output Mode[F6]鍵, 選擇 gated mode[F2].

- DEMO KIT的參數設定結束.

- 按 Frequency 鍵> Center Freq[F1]鍵>4鍵>3鍵>3鍵> MHz[F2]鍵, 設定中心頻率為433MHz

- 按 Span鍵> Span[F1]鍵 >5鍵>0鍵>0鍵> kHz[F3]鍵, 設定頻段為500kHz

- 在頻譜分析儀上可以觀測到叢發FSK信號.

- 按Span鍵> Zero Span[F3]鍵, 讓GSP-9300進入時域功率測量.

- 按BW/AVG鍵>按RBW[F1], 切換至手動模式,輸入1,MHz[F2]鍵,以抓取FSK完整的時域波形

- 按Trigger鍵> Trigger Condition[F2]鍵>Video[F1]>Video Level[F2]>輸入1,0, -dBm[F2], 設定觸發準位為-10dBm. 按Trigger Freq[F3]>輸入4,3,3,MHz[F2], 設定觸發頻率為433MHz.

- 按Return[F7]*2次 > Trigger Mode[F3]*2次> 設定為單次觸發

- 按Trigger Delay[F4], 輸入1,0,0,ms[F3],設定觸發延遲時間為100ms

- 按Action Now [F5], 啟動觸發功能

- 按Peak Search鍵，啟動自動搜尋時域功率的標記marker.

- 以上是GSP-9300時域功率測量的介紹.

- 感謝您的收看

# GW Instek GSP-9300 Spectrum Analyzer Time Domain Power Measurement function DEMO

Now, I am going to demonstrate the time domain power measurement function of GSP-9300 spectrum analyzer.

This demo kit is an ASK and FSK signal generator. In this demo kit, there are three preset frequency, three Baud rates and selectable continuous or burst output mode.

First of all, connect demo kit with the USB port located at the front panel of GSP-9300. Next, connect demo kit output terminal with GSP-9300 input terminal with SMA RF cable.

- To begin the operation, first, input demo kit parameters.

- Press option control key, demo kit (F4) key, demo kit (F1) key twice to activate demo kit

- Press modulation (F2) key and select FSK (F2) key

- Press frequency (F3) key and select 433 MHz (F2) key

- Press deviation (F4) key and select frequency deviation of 50kHz (F2) key

- Press Baud rate (F5) key and select baud rate of 9600 (F2) key

- Press output mode (F6) key and select gated mode (F2)

- This is the end of demo kit parameters input.

- Press frequency key, center freq (F1) key, input 4, 3, 3, MHz (F2) key to set center frequency as 433 MHz.

- Press span key, span (F1) key, input 5, 0, 0, kHz (F3) key to set frequency bandwidth as 500kHz.

- Now, burst FSK signals are shown on the screen.

- Press Span, Zero Span (F3) to enter time domain power measurement

- Press BW/AVG, and RBW(F1), switch to manual mode, input 1,MHz(F2) to retrieve the complete FSK time domain waveform

- Press Trigger, and Trigger Condition (F2), press Video(F1), and Video Level(F2), input 1,0, -dBm(F2) to set trigger level as -10dBm. Next, press Trigger Freq(F3), input 4,3,3,MHz(F2) to set trigger frequency as 433MHz

- Press Return(F7) twice, and Trigger Mode(F3) twice to set single trigger

- Press Trigger Delay (F4), input 1, 0, 0, ms (F3) to set trigger delay time as 100ms.

- Press Action Now (F5) to activate the trigger function

- Press Peak Search to activate marker for automatic search time domain power.

- This concludes the demonstration of GSP-9300 time domain power measurement function.

- Thank you very much for your interest in GSP-9300.